## Form
FP&C Environmental Building Rating System Checklist
referencing IgCC 2024
Project name:
Project and WBS No:
Phase:
5. Site Sustainability
|  |  | Total possible points: | 4
|  | 501.3.4.1 or 501.3.4.2 | Stormwater Management - Greenfields or Greyfields | 1
|  | 501.3.5.1 and 501.3.5.2 | Mitigation of Heat Island Effect - Site Hardscape and Walls | 1
|  | 501.3.5.3 | Mitigation of Heat Island Effect - Roofs | 1
|  | 501.3.6.1 | Reduction of Light Pollution - Backlight, Uplight, and Glare | 1
6. Water Use Efficiency - a minimum of 2 points must be earned from this section
|  |  | Total possible points: | 5
|  | 601.3.1 | Water Use Reduction - Site | 2
|  | 601.3.2 | Water Use Reduction - Building | 2
|  | 601.3.5 | Water Consumption Measurement | 1
7. Energy Efficiency - a minimum of 6 points must be earned from this section
|  |  | Total possible points: | 13
|  | 701.3.1 | General - ANSI/ASHRAE/IES Standard 90.1 | 1
|  | 701.3.2 | On-site Renewable Energy Systems | 1
|  | 701.3.3 | Energy Consumption Management | 1
|  | 701.4.1.1 | On-site Renewable Energy Systems (includes the point for 701.3.2. Both 701.3.2 and 701.4.1.1 cannot be claimed) - Prescriptive Option | 2
|  | 701.4.2 | Building Envelope Requirements - Prescriptive Option | 2
|  | 701.4.3 | HVAC - Prescriptive Option | 2
|  | 701.4.4 | Service Water Heating - Prescriptive Option | 1
|  | 701.4.5 | Power - Prescriptive Option | 1
|  | 701.4.6 | Lighting - Prescriptive Option | 2
|  | 701.4.7 | Other Equipment - Prescriptive Option | 1
|  | 701.6 | Performance Option in lieu of all Section 701.4.x requirements | 10
8. Indoor Environmental Quality
|  |  | Total possible points: | 12
| x | 801.3 | Mandatory Provision - Indoor Air Quality | 0
|  | 801.3.1 | Minimum Ventilation Rates | 1
|  | 801.3.2 | Outdoor Air Delivery Monitoring | 1
|  | 801.3.3 | Filtration and Air Cleaner Requirements | 1
| x | 801.3.7 | Mandatory Provision - Environmental Tobacco Smoke | 0
|  | 801.3.8 | Building Entrances | 1
|  | 801.4 | Thermal Environmental Conditioning for Human Occupancy | 1
|  | 801.6.1 | Materials | 2
|  | 801.7 | Acoustical Control | 2
| x | 801.8 | Mandatory Provision - Soil-Gas Control | 0
|  | 801.10.1 | Daylighting in Large Spaces Directly under a Roof and Having High Ceilings | 1
|  | 801.10.2 | Minimum Sidelighting Effective Aperture | 1
|  | 801.10.3 | Shading for Offices | 1
|  | 801.10.4 | Simulation Option in lieu of Sections 801.10.1 thru 801.10.3 requirements | 3
9. Materials and Resources
|  |  | Total possible points: | 5
|  | 901.3 | Extracting, Harvesting, Manufacturing, and Reusing | 1
|  | 901.4.1 | Environmental Product Declaration | 1
|  | 901.4.3 | Reporting of Global Warming Potential (GWP) Contribution | 1
|  | 901.5.1 or 901.5.2 | Material Selection - Prescriptive or Performance Option | 2
10. Construction and Plans for Operation
|  |  | Total possible points: | 11
| x | 1001.3.2 | Mandatory Provision - Building Project Commissioning (Cx) Process | 0
|  | 1001.4.1 | Erosion and Sediment Control | 1
|  | 1001.4.2 | IAQ Construction Management | 2
|  | 1001.4.3 | Construction Activity Pollution Prevention - Idling of Construction Vehicles | 1
|  | 1001.4.4 | Construction Activity Pollution Prevention - Protection of Occupied Areas | 1
| x | 1001.6 | Mandatory Provision - Building Envelope Air Tightness Testing | 0
|  | 100.8 | Soil-Gas Control | 1
|  | 1001.9 | Plans for High-Performance Building Operation | 1
|  | 1001.9.8 | Maintenance Plan | 1
|  | 1001.1 | Plan for Operation - IAQ Related Activities | 1
|  | 1001.11 | Service Life Plan | 1
|  | 1001.12 | Transportation Management Plan | 1
|  | Total points achieved: |  | 0
|  | Total points possible: |  | 50
25 points are required including at least 2 points from Sec. 6 - Water Use Efficiency, at least 6 points from Sec.7 - Energy Efficiency and all mandatory provisions.
Designer's name:
Signature:
Date: